OrthoDrill VET – Multifunctional Small Animall Osteosynthesis Tool

Transport case (included)                      Weight Less than950 gr                      Sterilization Case (Optional)

OrthoDrill Vet is a modular battery operated system for small animal Osteosynthesis with a keyless quick coupling chuck system

Chucks

Bone Drill Chuck attachment 0-1200 rpm suitable for trauma surgeries

AO Bone Drill Chuck attachment 0-1200 rpm suitable for trauma surgeries

K Wire attachment0-1200 rpm suitable for trauma surgeries

Oscilating Saw Attachment 0-18000 cpm suitable for joint surgeries

Various Aesculap type saw blades available  (3 included in package – selection by user)

Technical Specifications

Battery Li ion 3000nAh / max14.2V – Use time 30min – Charge time 140 min ,

2 Batteries included,non sterilizable attached by sp handle(holder)

Charger 110-220V / European and American Type Class B surge Protection

Total Weight – max 950gr (incl Battery)

Autoclavable

Water protection level IPX4

Noise Level <=75db (level A)

Transport Case Included

Sterilization case (optional)

Συνεχώς ρυθμιζόμενη ταχύτητα, 0 - 1.200 rpm

Ταχύτητα παλίνδρομου πριονιού, 0 – 16.000 osc/min 0-18000

Βάρος χειρολαβής με μπαταρία μέσα 970 γρ.940gr

Τάση λειτουργίας 7,2 – 14,4 VDC

Χωρητικότητα μπαταρίας 3.000 mAh Τύπος μπαταρίας Li-Ion

Χρόνος φόρτισης άδειας μπαταρίας max 150 λεπτά

Βαθμός προστασίας από ηλεκτροπλη-ξία Β

Βαθμός προστασίας από τη διείσδυση νερού IPX4

Επίπεδο θορύβου στη θέση λειτουρ-γίας ≤ 75 dB (A)